## Report
SL NO | MW Plan Id | Link ID (Site ID A - Site ID B and Site ID B - Site ID A) | Link configuration ( 1+0 / 1+1 / 2+0/ XPIC/1G) | Site ID | Site Name/System name/Unit Name | Server/RDP -IP | Type of Equipment | ODU/IDU (New/Existing) | MRMC Script ID/Bandw | MRMC Profile/Bandw | IDU Model (Modular IDU-IP20N, IP-20G , High capacity packet radio IP20C/IP20S, IP-20GX, IP-20F) | Link-Slot Number | Link-Port Number | Frequency Tx | Frequency Rx | Tx Power (dBm) | RSL(dBM) Main [<=3 dB Deviation permitted] | Modulation | ATPC (enabled/disable) | ACM Enabled/Modulation mode (Fixed/adaptive) | ODU IP Address | IDU IP Address/Remarks | ODU IP Ethernet slot port detail /Other remarks | IDU IP Ethernet slot port detail/Other remarks | GNOC Link ID (Site ID A - Site ID B and Site ID B - Site ID A) | GNOC Site Name/System name/Unit Name | Type of Equipment/IDU Model (Modular IDU-IP20N, IP-20G , High capacity packet radio IP20C, IP-20GX) | HOP visible in NMS (Y/N) [NMS visibility is mandatory] | Software Version IDU | GNOC Frequency Tx | GNOC Frequency Rx | GNOC Tx Power (dBm) | GNOC Current RSL (+/-3)] | GNOC MRMC Script ID/Bandw | GNOC MRMC Profile/Bandw | GNOC Modulation | GNOC ACM Enabled/Modulation mode (Fixed/adaptive) | GNOC ATPC (enabled/disable) | GNOC High Low Violation (Y/N) [No violation accepted] | GNOC QoS configured (Y/N) (As per planning guideline) | GNOC Performance error in last 24 hour end | GNOC Date and time settings correct (Y/N) | GNOC MSTP Disable define status | GNOC Undervoltage clear threshold =48 | GNOC Undervoltage raise threshold =46 | GNOC Critical alarm at New Node | GNOC Ethernet Port speed status(Should be 1000) | GNOC Final Remarks | GNOC Final AT status (Accepted/ Rejected) | Done By | Date
1 | MW-N-JH-06012025-5604 | JHMIH-13-JHKHA-01 | XPIC | JHMIH-13 |  |  | CERAGON | INVALID | [5 empty] | 15019 | 14599 | 15 |  |  | Disable | Enable | [7 empty] | INVALID | [10 empty] | INVALID | INVALID |  | INVALID | [6 empty] | INVALID |  | INVALID
1 | MW-N-JH-06012025-5604 | JHMIH-13-JHKHA-01 | XPIC | JHKHA-01 |  |  | CERAGON | INVALID | [5 empty] | 14599 | 15019 | 15 |  |  | Disable | Enable | [7 empty] | INVALID | [10 empty] | INVALID | INVALID |  | INVALID | [6 empty] | INVALID |  | INVALID

## Lb Report
Circle | Nominal Aop | Nominal Quarter | Plan Id | Plan Release Date | Ageing | Ageing Range | Plan category(New Deployment hybrid/FO/New Deployment XPIC/MIMO Upgrade/Existing 1+0 to XPIC Upgrade/Capacity Upgrade soft/DC/1+0 to 1 Gig Upgrade/Dual XPIC Upgrade/E Band/Frequency Change/Card Upgrade) | Final Project | Plan status ( Deployment done / Deployment Pending ) | Deployment Date/Month | Equipment Make | Hop Nomenclature Site-A | Hop Nomenclature Site-B | Link ID | Channel | Polarization | Site ID-A | Site A Lat | Site A Long | Tx Site Elevation (m) | BER10e6 Tx Power (dBm) | Tx Frequency (MHz) | BER10e6 Rx Level (dBm) | Tx Ant. Azimuth (°) | Tx Ant. Height (m) | Tx Antenna | Tx Ant. Gain (dB) | BER10e6 EIRP (dBm) | Site ID -B | Site B Lat | Site B Long | Rx Site Elevation (m) | Rx Frequency (MHz) | Rx Ant. Azimuth (°) | Rx Ant. Height (m) | Rx Antenna | Rx Ant. Gain (dB) | Tx Radio | Distance (km) | Bandwidth (MHz) | BER10e6 Eff. Margin (dB) | BER10e6 Rain Interference Thr. Deg. (dB) | BER10e6 Total Perf. Year (Unav. %) | Availability | ACM Status | ACM Min QAM | ACM Max QAM | ATPC Status | (MODEM(IF Card)/Ethernet Port) Site-A | (MW Chasis/CSR (CEN/EPT/NPT/BBU) Site-A | (MODEM(IF Card)/Ethernet Port) Site-B | (MW Chasis/CSR (CEN/EPT/NPT/BBU) Site-B | Hop Dismantle Y / N | Dismantle Hop ID | Dismantle Hop Type | Dismantle Hop Modem A | Dismantle Hop Chassis A | Antenna Size Site-A | Dismantle Hop Modem B | Dismantle Hop Chassis B | Antenna Size Site-B | PCM PATH | Fiber POP Id | Remarks | Junoon.2.0 LB (Yes/No) | Assigned To | Assigned To Department | Task Status | Cancellation Reason | Last Updated Date | AT Completed Date | TS Completed Date | Hop Type | Modulation | DCN RA Number | DCN VLAN | GATEWAY IP | Site A End IP | Site B End IP | Antenna Beam Width
HAR | FY24_25 | Q2 | MW-N-HAR-23082024-24064 | 2024-08-23 | 486 | > 180 days | NEW DEPLOYMENT XPIC | JUNOON 2 | ACCEPTANCE TEST | 2025-12-04 | CERAGON | BRAK43 | TELE86 | BRAK43-TELE86 | HR_15G_28M_F4 | H+V | BRAK43 | 29.0823 | 75.4226 | 207.9 | 14 | 15019 | -34.02 | 11 | 40 | 1.2 | 42.9 | 56.9 | TELE86 | 29.15 | 75.4378 | 206.4 | 14599 | 191 | 40 | 1.2 | 42.9 | IP50CX-15-28X-9 | 7.64 | 28 | 25 | 0.1 | 24.98 | 99.9999 | Enable | QPSK | 1024QAM | Disable | IP-50CX | NPT | IP-50CX | BBU | Y | MBPR66-TELE86 | 1+0 | ISV3 | NA | 0.6 | ISV3 | N | 0.6 | BRAK43¦TELE86 | BRAK43 | NA | yes | Ceragon-Sonu-A1ZCDNFN | Circle I&C Partner | ASSIGNED |  | 2025-02-25 |  |  | XPIC | 1024 | NSGN-000000 | NA | 2401:4900:14:434:0:158:0:1/120 | 2401:4900:14:434:0:158:0:41 | 2401:4900:14:434:0:158:0:42 | NA